## Slide 1: Advanced Techniques for Identifying New Compounds in Toxicology Casework
Jeff Walterscheid, Ph.D., F-ABFT
Toxicology Manager

## Slide 2: I have no commercial interests or financial relationships to disclose

## Slide 3
Looking for drugs: Where’s Waldo?
In order to characterize the presence of drugs, we need to know their unique characteristics:
  Size
  Structure
  Mass
  Solubility
  Volatility

## Slide 4
Immunoassay Screen
Pros
Quick and easy, no extraction needed
Requires a minimal volume
Flags cocaine, amphetamine (which cross reacts with many phenethylamines such as MDA, phentermine, and norephedrine), methamphetamine (also picks up MDMA, ephedrine/pseudoephedrine), PCP, opiates, benzodiazepines, barbiturates, methadone, and marijuana
Cons
Only flags on drugs that have an antibody probe
Gives false positives on amphetamine in decomposition or spoiled urine
PCP will trigger on dextromethorphan
Opiate typically does not detect oxycodone or oxymorphone
Benzodiapine assay reacts poorly with lorazepam

## Slide 5
Immunoassay Screen
Y
Y
Y
Y
Y

## Slide 6
Acidic/Neutral vs. Alkaline Screen
Pros
Acidic screen reveals select anticonvulsants, phenytoin, barbiturates, ibuprofen, valproic acid
Alkaline screen will find most antidepressants, antihistamines, benzodiazepines, some opiates
Cons
Lengthy and complicated extraction
Consumes up to 10x more specimen
Machine run time is about 15 hours
Data processing takes several hours even days to complete

## Slide 7
GC/MS Drug Screen
94%
45%
53%
36%
27%

## Slide 8
GC/MS Drug Screen: Ropivacaine or Bath Salt?

## Slide 9
LC-TOF/MS Drug Screen
Finding Waldo’s cousins by LC-TOF Mass Spectrometry
Is something there we didn’t expect?
Do we even know what they look like?

## Slide 10
TOF Drug Screen

## Slide 11
TOF Drug Screen
Pros
TOF catalogues most all compounds present in the sample
Easy to review the list without re-analyzing
Cons
Only reports drugs found that are specified in template
Often requires personal inspection of data
Sometimes drug peaks are not obvious

## Slide 12: Case 1: Scene investigation

## Slide 13
Case 1: Scene
19 year old male found dead at home after a party

## Slide 14
Case 1: Scene
Liked to spray paint graffiti
Could solvent inhalation be a factor?

## Slide 15
Case 1: Scene
Drug paraphernalia and marijuana found on site

## Slide 16
Case 1: Scene
Several prescription medication bottles found
Half of them assigned to other patients
All are empty

## Slide 17: Case 1: Autopsy

## Slide 18
Case 1: Autopsy
Young, healthy, no injuries

## Slide 19
Case 1: Autopsy
No needle marks

## Slide 20
Case 1: Autopsy
Distended bladder, a sign of opioid toxicity

## Slide 21: Case 1: Toxicology

## Slide 22
Case 1: Traditional toxicology
Blood
Analyte Result Method
Alprazolam 0.040 ± 0.009 mg/L LC/MS/MS
Fluoxetine 0.46 ± 0.17 mg/L LC/MS/MS
Marijuana Metabolite Presumptive positive Immunoassay - ELISA
Norfluoxetine 0.23 ± 0.09 mg/L LC/MS/MS
Vitreous Humor
Analyte Result Method
Chloride 100 ± 6 mEq/L Ion Selective Electrode
Creatinine 1.7 ± 0.3 mg/dL Spectrophotometric
Potassium 19.2 ± 1.2 mEq/L Ion Selective Electrode
Sodium 135 ± 4 mEq/L Ion Selective Electrode
Urea Nitrogen 18 ± 2 mg/dL Spectrophotometric
Toxicology shows a nominal profile that does not explain the reason for his death

## Slide 23
Case 1: Further analysis
LC-TOF/MS profile showed:
  Caffeine
  Alprazolam
  Fluoxetine
  Norfluoxetine
???

## Slide 24
Case 1: Further analysis
???

## Slide 25
Case 1: Further analysis
Specimen: Blood
Analyte Result
Loperamide 0.063 mg/L
Therapeutic reference range: 0.001-0.003 mg/L
Cause of death:
Toxic effects of loperamide with fluoxetine and alprazolam
Manner:
Accident

## Slide 26: Case 2: Scene investigation

## Slide 27
Case 2: Scene
Originally found sitting upright next to bed
Was repositioned on the floor for assessment
No attempts to resuscitate

## Slide 28
Case 2: Scene
Bruising was noted, but likely due to medical intervention when hospitalized five days ago

## Slide 29
Case 2: Scene
Only a few prescriptions on scene:
  iron citrate and
  butalbital/APAP

## Slide 30: Case 2: Autopsy

## Slide 31
Case 2: Autopsy
Obesity noted at 332 lbs; lividity consistent with positioning

## Slide 32
Case 2: Autopsy
Pulmonary edema; frothy material exuding from bronchi

## Slide 33
Case 2: Autopsy
Cardiomegaly noted (450 gram heart); minimal atherosclerosis

## Slide 34: Case 2: Toxicology

## Slide 35
Case 2: Traditional toxicology
Traditional methods revealed nominal concentrations of ibuprofen, metaxalone, and pregabalin
Vitreous chemistries are unremarkable
Without a pathological cause of death, the toxicology becomes a primary issue
Blood
Ibuprofen Present
Metaxalone Present
Pregabalin 6.6 mg/L
Vitreous Humor
Chloride 110 mEq/L
Creatinine 0.7 mg/dL
Potassium 7.8 mEq/L
Sodium 149 mEq/L
Urea Nitrogen 34 mg/dL

## Slide 36
Case 2: Further analysis

## Slide 37
Case 2: Further analysis
+

## Slide 38
Case 2: Further analysis
Blood
Milnacipran 40 mg/L
Gastric contents
Milnacipran 379 mg/L
Cause: Acute milnacipran toxicity
Manner: Suicide

## Slide 39: Case 3: Scene investigation

## Slide 40
Case 3: Scene
A 21-year-old male went with his friend to a rave party
Admitted to his friend he had taken “new acid”
A sudden violent rage occurred, then he become unresponsive

## Slide 41
Case 3: Scene

## Slide 42
Case 3: Scene

## Slide 43
Case 3: Scene
A 15-year-old female was socializing outside a rave party; friend went inside
When friend returned, she became ill and rapidly deteriorated
She went unresponsive as her friend transported her to the hospital

## Slide 44: Case 3: Autopsy

## Slide 45
Case 3: Autopsy
Both decedents are young and healthy
Both have numerous external contusions
Both went to “rave” parties
Both died shortly after consuming an unknown substance

## Slide 46: Case 3: Toxicology

## Slide 47
Case 3: Traditional toxicology
21 yo male:
THC metabolite
Normal chemistries
No ethanol
Negative alkaline drug screen
Negative TOF drug screen
15 yo female:
THC and metabolite
Normal chemistries
No ethanol
Negative alkaline drug screen
Negative TOF drug screen

## Slide 48
Case 3: Further analysis

## Slide 49
Case 3: Further analysis
15 yo
female
21 yo
male

## Slide 50
Case 3: Further analysis
15 yo female
21 yo male

## Slide 51
Case 3: Further analysis
25I-NBOMe
A new serotonin receptor agonist with superpotent activity

## Slide 52
Case 3: Further analysis
Tandem mass analysis is needed to confirm the presence of 25I-NBOMe in blood and urine
CONFIRMED
CONFIRMED

## Slide 53
Case 3: Further analysis

## Slide 54
Case 3: Further analysis
Specimen | Case 1 | Case 2
Whole blood | 4.7 | 16
Vitreous humor | 0.0 | 0.4
Stomach contents | 6.5 | 570
Urine | 6.7 | 19
Liver | 0.0 | 31
Brain | 22 | 241
Bile | 17 | 157
25I-NBOMe
(ng/mL or ng/mg)
Cause: Toxic effects of 25I-NBOMe
Manner: Accident

## Slide 55: DWI Toxicology

## Slide 56
DWI by synthetic cannabinoids
2011
2012
2013
2014
Napthoylindoles
Tetramethylcyclopropylindoles
Indazolecarboxamides
JWH-018
UR-144
AB-FUBINACA

## Slide 57
DWI by synthetic cannabinoids 2012

## Slide 58
DWI by synthetic cannabinoids 2013

## Slide 59
DWI by synthetic cannabinoids 2014

## Slide 60: Summary

## Slide 61
Summary
Toxicology investigations require knowledge of the drugs involved in order to assign proper tests.
Accurate mass spectrometry such as LC-TOF/MS allows for monitoring a wide array of drugs, metabolites, and other exotic compounds in a single test.
This method can reveal evidence of drug use in postmortem or human performance casework when information is misleading or lacking.
If your lab does not have this technology, make sure the outsourced lab can provide this type of assay.

## Slide 62
jeffrey.walterscheid@ifs.hctx.net
Thank you for attending!